## 2022-2023
B2 - 2022 - 2023 Concentration Monitoring Summary
Point No | Other Name | Parameter | Unit | LOR | 100 percentile concentration limit | Required tests | Undertaken tests | min | mean | max | Date |  |  |  | Result |  |  |  | Absolute Result
[11 empty] | Test 1 | Test 2 | Test 3 | Test 4 | Test 1 | Test 2 | Test 3 | Test 4 | Absolute 1 | Absolute 2 | Absolute 3 | Absolute 4
1 | 80 Meg - Muttuma Ck | BOD | mg/L | 2 | 30 | 4 | 4 |  |  |  | 2022-05-12 | 2022-12-16 | 2023-02-17 | 2023-05-04 | <2 | 3 | 2 | 4
1 | 80 Meg - Muttuma Ck | Faecal Coliforms | cfu/100mL | 1 | 200 | 4 | 4 |  |  |  | 2022-05-12 | 2022-12-16 | 2023-02-17 | 2023-05-04 | 10 | <1 | 46 | 2
1 | 80 Meg - Muttuma Ck | Nitrogen (total) | mg/L | 2 | 20 | 4 | 4 |  |  |  | 2022-05-12 | 2022-12-16 | 2023-02-17 | 2023-05-04 | <0.1 | 0.3 | <0.1 | 0.2
1 | 80 Meg - Muttuma Ck | Oil & Grease | mg/L | 1 | 10 | 4 | 4 |  |  |  | 2022-05-12 | 2022-12-16 | 2023-02-17 | 2023-05-04 | 4 | 5 | 1 | 1
1 | 80 Meg - Muttuma Ck | pH | pH | 0.1 | 5.5-9.5 | 4 | 4 |  |  |  | 2022-05-12 | 2022-12-16 | 2023-02-17 | 2023-05-04 | 8.4 | 7.1 | 8.2 | 8.8
1 | 80 Meg - Muttuma Ck | Phosphorus (total) | mg/L | 0.01 | 1 | 4 | 4 |  |  |  | 2022-05-12 | 2022-12-16 | 2023-02-17 | 2023-05-04 | 0.43 | 0.49 | <0.01 | 0.35
1 | 80 Meg - Muttuma Ck | Total suspended solids | mg/L | 2 | 40 | 4 | 4 |  |  |  | 2022-05-12 | 2022-12-16 | 2023-02-17 | 2023-05-04 | <2 | 5 | 5 | <2
2 | Outlet Weir Discharge Point
3 | Mitchell Park | Available Phosphorus | mg/kg | 0.1 |  | 1 | 1 | [12 empty] | - | - | - | bar: Date Test 2 to Date Test 4; Result Test 2 to Result Test 4
3 | Mitchell Park | Conductivity | dS/m | 0.01 |  | 1 | 1 |  |  |  | 2022-07-15 | - | - | - | 312 | - | - | - |  | - | - | -
3 | Mitchell Park | Exchangeable Calcium | cmol/kg | 1 |  | 1 | 1 | [12 empty] | - | - | - | bar: Date Test 2 to Date Test 4; Result Test 2 to Result Test 4
3 | Mitchell Park | Exchangeable Magnesium | cmol/kg | 1 |  | 1 | 1 | [12 empty] | - | - | - | bar: Date Test 2 to Date Test 4; Result Test 2 to Result Test 4
3 | Mitchell Park | Exchangeable Potassium | cmol/kg | 1 |  | 1 | 1 | [12 empty] | - | - | - | bar: Date Test 2 to Date Test 4; Result Test 2 to Result Test 4
3 | Mitchell Park | Exchangeable Sodium | cmol/kg | 0.1 |  | 1 | 1 | [12 empty] | - | - | - | bar: Date Test 2 to Date Test 4; Result Test 2 to Result Test 4
3 | Mitchell Park | Nitrate | mg/kg | 0.1 |  | 1 | 1 |  |  |  | 2022-07-15 | - | - | - | 0.4 | - | - | - |  | - | - | -
3 | Mitchell Park | Nitrogen (Total) | mg/kg | 20 |  | 1 | 1 |  |  |  | 2022-07-15 | - | - | - | 5 | - | - | - |  | - | - | -
3 | Mitchell Park | Organic matter | w/w% | 0.5 |  | 1 | 1 | [12 empty] | - | - | - | bar: Date Test 2 to Date Test 4; Result Test 2 to Result Test 4
3 | Mitchell Park | pH | pH | 0.1 |  | 1 | 1 |  |  |  | 2022-07-15 | - | - | - | 7.2 | - | - | - |  | - | - | -
3 | Mitchell Park | Phosphorus (total) | mg/Kg | 2 |  | 1 | 1 |  |  |  | 2022-07-15 | - | - | - | 1.73 | - | - | - |  | - | - | -
4 | Albert Park Reserve | Available Phosphorus | mg/kg | 0.1 |  | 1 | 1 | [12 empty] | - | - | - | bar: Date Test 2 to Date Test 4; Result Test 2 to Result Test 4
4 | Albert Park Reserve | Conductivity | dS/m | 0.01 |  | 1 | 1 |  |  |  | 2022-07-15 | - | - | - | 257 | - | - | - |  | - | - | -
4 | Albert Park Reserve | Exchangeable Calcium | cmol/kg | 1 |  | 1 | 1 | [12 empty] | - | - | - | bar: Date Test 2 to Date Test 4; Result Test 2 to Result Test 4
4 | Albert Park Reserve | Exchangeable Magnesium | cmol/kg | 1 |  | 1 | 1 | [12 empty] | - | - | - | bar: Date Test 2 to Date Test 4; Result Test 2 to Result Test 4
4 | Albert Park Reserve | Exchangeable Potassium | cmol/kg | 1 |  | 1 | 1 | [12 empty] | - | - | - | bar: Date Test 2 to Date Test 4; Result Test 2 to Result Test 4
4 | Albert Park Reserve | Exchangeable Sodium | cmol/kg | 0.1 |  | 1 | 1 | [12 empty] | - | - | - | bar: Date Test 2 to Date Test 4; Result Test 2 to Result Test 4
4 | Albert Park Reserve | Nitrate | mg/kg | 0.1 |  | 1 | 1 |  |  |  | 2022-07-15 | - | - | - | 1.8 | - | - | - |  | - | - | -
4 | Albert Park Reserve | Nitrogen (Total) | mg/kg | 20 |  | 1 | 1 |  |  |  | 2022-07-15 | - | - | - | 2 | - | - | - |  | - | - | -
4 | Albert Park Reserve | Organic matter | w/w% | 0.5 |  | 1 | 1 | [12 empty] | - | - | - | bar: Date Test 2 to Date Test 4; Result Test 2 to Result Test 4
4 | Albert Park Reserve | pH | pH | 0.1 |  | 1 | 1 |  |  |  | 2022-07-15 | - | - | - | 7.4 | - | - | - |  | - | - | -
4 | Albert Park Reserve | Phosphorus (total) | mg/Kg | 2 |  | 1 | 1 |  |  |  | 2022-07-15 | - | - | - | 1.14 | - | - | - |  | - | - | -
5 | Jubilee Park | Available Phosphorus | mg/kg | 0.1 |  | 1 | 1 | [12 empty] | - | - | - | bar: Date Test 2 to Date Test 4; Result Test 2 to Result Test 4
5 | Jubilee Park | Conductivity | dS/m | 0.01 |  | 1 | 1 |  |  |  | 2022-10-26 | - | - | - | 750 | - | - | - |  | - | - | -
5 | Jubilee Park | Exchangeable Calcium | cmol/kg | 1 |  | 1 | 1 | [12 empty] | - | - | - | bar: Date Test 2 to Date Test 4; Result Test 2 to Result Test 4
5 | Jubilee Park | Exchangeable Magnesium | cmol/kg | 1 |  | 1 | 1 | [12 empty] | - | - | - | bar: Date Test 2 to Date Test 4; Result Test 2 to Result Test 4
5 | Jubilee Park | Exchangeable Potassium | cmol/kg | 1 |  | 1 | 1 | [12 empty] | - | - | - | bar: Date Test 2 to Date Test 4; Result Test 2 to Result Test 4
5 | Jubilee Park | Exchangeable Sodium | cmol/kg | 0.1 |  | 1 | 1 | [12 empty] | - | - | - | bar: Date Test 2 to Date Test 4; Result Test 2 to Result Test 4
5 | Jubilee Park | Nitrate | mg/kg | 0.1 |  | 1 | 1 |  |  |  | 2022-10-26 | - | - | - | 29 | - | - | - |  | - | - | -
5 | Jubilee Park | Nitrogen (Total) | mg/kg | 20 |  | 1 | 1 |  |  |  | 2022-10-26 | - | - | - | 31 | - | - | - |  | - | - | -
5 | Jubilee Park | Organic matter | w/w% | 0.5 |  | 1 | 1 | [12 empty] | - | - | - | bar: Date Test 2 to Date Test 4; Result Test 2 to Result Test 4
5 | Jubilee Park | pH | pH | 0.1 |  | 1 | 1 |  |  |  | 2022-10-26 | - | - | - | 7.3 | - | - | - |  | - | - | -
5 | Jubilee Park | Phosphorus (total) | mg/Kg | 2 |  | 1 | 1 |  |  |  | 2022-10-26 | - | - | - | 6.72 | - | - | - |  | - | - | -
6 | Clarke Oval Reserve | Available Phosphorus | mg/kg | 0.1 |  | 1 | 1 | [12 empty] | - | - | - | bar: Date Test 2 to Date Test 4; Result Test 2 to Result Test 4
6 | Clarke Oval Reserve | Conductivity | dS/m | 0.01 |  | 1 | 1 |  |  |  | 2022-10-26 | - | - | - | 440 | - | - | - |  | - | - | -
6 | Clarke Oval Reserve | Exchangeable Calcium | cmol/kg | 1 |  | 1 | 1 | [12 empty] | - | - | - | bar: Date Test 2 to Date Test 4; Result Test 2 to Result Test 4
6 | Clarke Oval Reserve | Exchangeable Magnesium | cmol/kg | 1 |  | 1 | 1 | [12 empty] | - | - | - | bar: Date Test 2 to Date Test 4; Result Test 2 to Result Test 4
6 | Clarke Oval Reserve | Exchangeable Potassium | cmol/kg | 1 |  | 1 | 1 | [12 empty] | - | - | - | bar: Date Test 2 to Date Test 4; Result Test 2 to Result Test 4
6 | Clarke Oval Reserve | Exchangeable Sodium | cmol/kg | 0.1 |  | 1 | 1 | [12 empty] | - | - | - | bar: Date Test 2 to Date Test 4; Result Test 2 to Result Test 4
6 | Clarke Oval Reserve | Nitrate | mg/kg | 0.1 |  | 1 | 1 |  |  |  | 2022-10-26 | - | - | - | <1 | - | - | - |  | - | - | -
6 | Clarke Oval Reserve | Nitrogen (Total) | mg/kg | 20 |  | 1 | 1 |  |  |  | 2022-10-26 | - | - | - | 5 | - | - | - |  | - | - | -
6 | Clarke Oval Reserve | Organic matter | w/w% | 0.5 |  | 1 | 1 | [12 empty] | - | - | - | bar: Date Test 2 to Date Test 4; Result Test 2 to Result Test 4
6 | Clarke Oval Reserve | pH | pH | 0.1 |  | 1 | 1 |  |  |  | 2022-10-26 | - | - | - | 7.3 | - | - | - |  | - | - | -
6 | Clarke Oval Reserve | Phosphorus (total) | mg/Kg | 2 |  | 1 | 1 |  |  |  | 2022-10-26 | - | - | - | 0.57 | - | - | - |  | - | - | -
7 | Fisher Park | Available Phosphorus | mg/kg | 0.1 |  | 1 | 1 | [12 empty] | - | - | - | bar: Date Test 2 to Date Test 4; Result Test 2 to Result Test 4
7 | Fisher Park | Conductivity | dS/m | 0.01 |  | 1 | 1 |  |  |  | 2022-10-26 | - | - | - | 207 | - | - | - |  | - | - | -
7 | Fisher Park | Exchangeable Calcium | cmol/kg | 1 |  | 1 | 1 | [12 empty] | - | - | - | bar: Date Test 2 to Date Test 4; Result Test 2 to Result Test 4
7 | Fisher Park | Exchangeable Magnesium | cmol/kg | 1 |  | 1 | 1 | [12 empty] | - | - | - | bar: Date Test 2 to Date Test 4; Result Test 2 to Result Test 4
7 | Fisher Park | Exchangeable Potassium | cmol/kg | 1 |  | 1 | 1 | [12 empty] | - | - | - | bar: Date Test 2 to Date Test 4; Result Test 2 to Result Test 4
7 | Fisher Park | Exchangeable Sodium | cmol/kg | 0.1 |  | 1 | 1 | [12 empty] | - | - | - | bar: Date Test 2 to Date Test 4; Result Test 2 to Result Test 4
7 | Fisher Park | Nitrate | mg/kg | 0.1 |  | 1 | 1 |  |  |  | 2022-10-26 | - | - | - | <1 | - | - | - |  | - | - | -
7 | Fisher Park | Nitrogen (Total) | mg/kg | 20 |  | 1 | 1 |  |  |  | 2022-10-26 | - | - | - | 6 | - | - | - |  | - | - | -
7 | Fisher Park | Organic matter | w/w% | 0.5 |  | 1 | 1 | [12 empty] | - | - | - | bar: Date Test 2 to Date Test 4; Result Test 2 to Result Test 4
7 | Fisher Park | pH | pH | 0.1 |  | 1 | 1 |  |  |  | 2022-10-26 | - | - | - | 7.5 | - | - | - |  | - | - | -
7 | Fisher Park | Phosphorus (total) | mg/Kg | 2 |  | 1 | 1 |  |  |  | 2022-10-26 | - | - | - | 2.61 | - | - | - |  | - | - | -
8 | Bradman Oval | Available Phosphorus | mg/kg | 0.1 |  | 1 | 1 | [12 empty] | - | - | - | bar: Date Test 2 to Date Test 4; Result Test 2 to Result Test 4
8 | Bradman Oval | Conductivity | dS/m | 0.01 |  | 1 | 1 |  |  |  | 2022-07-15 | - | - | - | 232 | - | - | - |  | - | - | -
8 | Bradman Oval | Exchangeable Calcium | cmol/kg | 1 |  | 1 | 1 | [12 empty] | - | - | - | bar: Date Test 2 to Date Test 4; Result Test 2 to Result Test 4
8 | Bradman Oval | Exchangeable Magnesium | cmol/kg | 1 |  | 1 | 1 | [12 empty] | - | - | - | bar: Date Test 2 to Date Test 4; Result Test 2 to Result Test 4
8 | Bradman Oval | Exchangeable Potassium | cmol/kg | 1 |  | 1 | 1 | [12 empty] | - | - | - | bar: Date Test 2 to Date Test 4; Result Test 2 to Result Test 4
8 | Bradman Oval | Exchangeable Sodium | cmol/kg | 0.1 |  | 1 | 1 | [12 empty] | - | - | - | bar: Date Test 2 to Date Test 4; Result Test 2 to Result Test 4
8 | Bradman Oval | Nitrate | mg/kg | 0.1 |  | 1 | 1 |  |  |  | 2022-07-15 | - | - | - | 0.7 | - | - | - |  | - | - | -
8 | Bradman Oval | Nitrogen (Total) | mg/kg | 20 |  | 1 | 1 |  |  |  | 2022-07-15 | - | - | - | 7 | - | - | - |  | - | - | -
8 | Bradman Oval | Organic matter | w/w% | 0.5 |  | 1 | 1 | [12 empty] | - | - | - | bar: Date Test 2 to Date Test 4; Result Test 2 to Result Test 4
8 | Bradman Oval | pH | pH | 0.1 |  | 1 | 1 |  |  |  | 2022-07-15 | - | - | - | 8.4 | - | - | - |  | - | - | -
8 | Bradman Oval | Phosphorus (total) | mg/Kg | 2 |  | 1 | 1 |  |  |  | 2022-07-15 | - | - | - | 0.62 | - | - | - |  | - | - | -
9 | Cameron Square Park | Available Phosphorus | mg/kg | 0.1 |  | 1 | 1 | [12 empty] | - | - | - | bar: Date Test 2 to Date Test 4; Result Test 2 to Result Test 4
9 | Cameron Square Park | Conductivity | dS/m | 0.01 |  | 1 | 1 |  |  |  | 2022-10-26 | - | - | - | 248 | - | - | - |  | - | - | -
9 | Cameron Square Park | Exchangeable Calcium | cmol/kg | 1 |  | 1 | 1 | [12 empty] | - | - | - | bar: Date Test 2 to Date Test 4; Result Test 2 to Result Test 4
9 | Cameron Square Park | Exchangeable Magnesium | cmol/kg | 1 |  | 1 | 1 | [12 empty] | - | - | - | bar: Date Test 2 to Date Test 4; Result Test 2 to Result Test 4
9 | Cameron Square Park | Exchangeable Potassium | cmol/kg | 1 |  | 1 | 1 | [12 empty] | - | - | - | bar: Date Test 2 to Date Test 4; Result Test 2 to Result Test 4
9 | Cameron Square Park | Exchangeable Sodium | cmol/kg | 0.1 |  | 1 | 1 | [12 empty] | - | - | - | bar: Date Test 2 to Date Test 4; Result Test 2 to Result Test 4
9 | Cameron Square Park | Nitrate | mg/kg | 0.1 |  | 1 | 1 |  |  |  | 2022-10-26 | - | - | - | <1 | - | - | - |  | - | - | -
9 | Cameron Square Park | Nitrogen (Total) | mg/kg | 20 |  | 1 | 1 |  |  |  | 2022-10-26 | - | - | - | 5 | - | - | - |  | - | - | -
9 | Cameron Square Park | Organic matter | w/w% | 0.5 |  | 1 | 1 | [12 empty] | - | - | - | bar: Date Test 2 to Date Test 4; Result Test 2 to Result Test 4
9 | Cameron Square Park | pH | pH | 0.1 |  | 1 | 1 |  |  |  | 2022-10-26 | - | - | - | 7.5 | - | - | - |  | - | - | -
9 | Cameron Square Park | Phosphorus (total) | mg/Kg | 2 |  | 1 | 1 |  |  |  | 2022-10-26 | - | - | - | 0.52 | - | - | - |  | - | - | -
10 | Nicholson Park | Available Phosphorus | mg/kg | 0.1 |  | 1 | 1 | [12 empty] | - | - | - | bar: Date Test 2 to Date Test 4; Result Test 2 to Result Test 4
10 | Nicholson Park | Conductivity | dS/m | 0.01 |  | 1 | 1 | [12 empty] | - | - | - | bar: Date Test 2 to Date Test 4; Result Test 2 to Result Test 4
10 | Nicholson Park | Exchangeable Calcium | cmol/kg | 1 |  | 1 | 1 | [12 empty] | - | - | - | bar: Date Test 2 to Date Test 4; Result Test 2 to Result Test 4
10 | Nicholson Park | Exchangeable Magnesium | cmol/kg | 1 |  | 1 | 1 | [12 empty] | - | - | - | bar: Date Test 2 to Date Test 4; Result Test 2 to Result Test 4
10 | Nicholson Park | Exchangeable Potassium | cmol/kg | 1 |  | 1 | 1 | [12 empty] | - | - | - | bar: Date Test 2 to Date Test 4; Result Test 2 to Result Test 4
10 | Nicholson Park | Exchangeable Sodium | cmol/kg | 0.1 |  | 1 | 1 | [12 empty] | - | - | - | bar: Date Test 2 to Date Test 4; Result Test 2 to Result Test 4
10 | Nicholson Park | Nitrate | mg/kg | 0.1 |  | 1 | 1 | [12 empty] | - | - | - | bar: Date Test 2 to Date Test 4; Result Test 2 to Result Test 4
10 | Nicholson Park | Nitrogen (Total) | mg/kg | 20 |  | 1 | 1 | [12 empty] | - | - | - | bar: Date Test 2 to Date Test 4; Result Test 2 to Result Test 4
10 | Nicholson Park | Organic matter | w/w% | 0.5 |  | 1 | 1 | [12 empty] | - | - | - | bar: Date Test 2 to Date Test 4; Result Test 2 to Result Test 4
10 | Nicholson Park | pH | pH | 0.1 |  | 1 | 1 | [12 empty] | - | - | - | bar: Date Test 2 to Date Test 4; Result Test 2 to Result Test 4
10 | Nicholson Park | Phosphorus (total) | mg/Kg | 2 |  | 1 | 1 | [12 empty] | - | - | - | bar: Date Test 2 to Date Test 4; Result Test 2 to Result Test 4
11 | Country Club Oval | Available Phosphorus | mg/kg | 0.1 |  | 1 | 1 | [12 empty] | - | - | - | bar: Date Test 2 to Date Test 4; Result Test 2 to Result Test 4
11 | Country Club Oval | Conductivity | dS/m | 0.01 |  | 1 | 1 |  |  |  | 2022-10-26 | - | - | - | 8060 | - | - | - |  | - | - | -
11 | Country Club Oval | Exchangeable Calcium | cmol/kg | 1 |  | 1 | 1 | [12 empty] | - | - | - | bar: Date Test 2 to Date Test 4; Result Test 2 to Result Test 4
11 | Country Club Oval | Exchangeable Magnesium | cmol/kg | 1 |  | 1 | 1 | [12 empty] | - | - | - | bar: Date Test 2 to Date Test 4; Result Test 2 to Result Test 4
11 | Country Club Oval | Exchangeable Potassium | cmol/kg | 1 |  | 1 | 1 | [12 empty] | - | - | - | bar: Date Test 2 to Date Test 4; Result Test 2 to Result Test 4
11 | Country Club Oval | Exchangeable Sodium | cmol/kg | 0.1 |  | 1 | 1 | [12 empty] | - | - | - | bar: Date Test 2 to Date Test 4; Result Test 2 to Result Test 4
11 | Country Club Oval | Nitrate | mg/kg | 0.1 |  | 1 | 1 |  |  |  | 2022-10-26 | - | - | - | <1 | - | - | - |  | - | - | -
11 | Country Club Oval | Nitrogen (Total) | mg/kg | 20 |  | 1 | 1 |  |  |  | 2022-10-26 | - | - | - | 5 | - | - | - |  | - | - | -
11 | Country Club Oval | Organic matter | w/w% | 0.5 |  | 1 | 1 | [12 empty] | - | - | - | bar: Date Test 2 to Date Test 4; Result Test 2 to Result Test 4
11 | Country Club Oval | pH | pH | 0.1 |  | 1 | 1 |  |  |  | 2022-10-26 | - | - | - | 6.9 | - | - | - |  | - | - | -
11 | Country Club Oval | Phosphorus (total) | mg/Kg | 2 |  | 1 | 1 |  |  |  | 2022-10-26 | - | - | - | 0.4 | - | - | - |  | - | - | -
12 | 80 Meg - Reuse | BOD | mg/L | 2 |  | 4 | 4 |  |  |  | 2022-05-12 | 2022-12-16 | 2023-02-17 | 2023-05-04 | 10 | 3 | 4 | 5
12 | 80 Meg - Reuse | Faecal Coliforms | cfu/100mL | 1 |  | 4 | 4 |  |  |  | 2022-05-12 | 2022-12-16 | 2023-02-17 | 2023-05-04 | 140 | <1 | 50 | 2
12 | 80 Meg - Reuse | Nitrogen (total) | mg/L | 2 |  | 4 | 4 |  |  |  | 2022-05-12 | 2022-12-16 | 2023-02-17 | 2023-05-04 | <0.1 | 0.3 | <0.1 | 0.6
12 | 80 Meg - Reuse | Oil & Grease | mg/L | 1 |  | 4 | 4 |  |  |  | 2022-05-12 | 2022-12-16 | 2023-02-17 | 2023-05-04 | 3 | 4 | <1 | 1
12 | 80 Meg - Reuse | pH | pH | 0.1 |  | 4 | 4 |  |  |  | 2022-05-12 | 2022-12-16 | 2023-02-17 | 2023-05-04 | 7.9 | 8.5 | 8.3 | 8.8
12 | 80 Meg - Reuse | Phosphorus (total) | mg/L | 0.01 |  | 4 | 4 |  |  |  | 2022-05-12 | 2022-12-16 | 2023-02-17 | 2023-05-04 | 1.02 | 0.43 | <0.01 | 0.37
12 | 80 Meg - Reuse | Total suspended solids | mg/L | 2 |  | 4 | 4 |  |  |  | 2022-05-12 | 2022-12-16 | 2023-02-17 | 2023-05-04 | 26 | 9 | 7 | 5
13 | E.A. Southee School | Available Phosphorus | mg/kg | 0.1 |  | 1 | 1 | [12 empty] | - | - | - | bar: Date Test 2 to Date Test 4; Result Test 2 to Result Test 4
13 | E.A. Southee School | Conductivity | dS/m | 0.01 |  | 1 | 1 |  |  |  | 2022-10-26 | - | - | - | 5360 | - | - | - |  | - | - | -
13 | E.A. Southee School | Exchangeable Calcium | cmol/kg | 1 |  | 1 | 1 | [12 empty] | - | - | - | bar: Date Test 2 to Date Test 4; Result Test 2 to Result Test 4
13 | E.A. Southee School | Exchangeable Magnesium | cmol/kg | 1 |  | 1 | 1 | [12 empty] | - | - | - | bar: Date Test 2 to Date Test 4; Result Test 2 to Result Test 4
13 | E.A. Southee School | Exchangeable Potassium | cmol/kg | 1 |  | 1 | 1 | [12 empty] | - | - | - | bar: Date Test 2 to Date Test 4; Result Test 2 to Result Test 4
13 | E.A. Southee School | Exchangeable Sodium | cmol/kg | 0.1 |  | 1 | 1 | [12 empty] | - | - | - | bar: Date Test 2 to Date Test 4; Result Test 2 to Result Test 4
13 | E.A. Southee School | Nitrate | mg/kg | 0.1 |  | 1 | 1 |  |  |  | 2022-10-26 | - | - | - | <1 | - | - | - |  | - | - | -
13 | E.A. Southee School | Nitrogen (Total) | mg/kg | 20 |  | 1 | 1 |  |  |  | 2022-10-26 | - | - | - | 7 | - | - | - |  | - | - | -
13 | E.A. Southee School | Organic matter | w/w% | 0.5 |  | 1 | 1 | [12 empty] | - | - | - | bar: Date Test 2 to Date Test 4; Result Test 2 to Result Test 4
13 | E.A. Southee School | pH | pH | 0.1 |  | 1 | 1 |  |  |  | 2022-10-26 | - | - | - | 7.1 | - | - | - |  | - | - | -
13 | E.A. Southee School | Phosphorus (total) | mg/Kg | 2 |  | 1 | 1 |  |  |  | 2022-10-26 | - | - | - | 1.31 | - | - | - |  | - | - | -
14 | Cootamundra High School | Available Phosphorus | mg/kg | 0.1 |  | 1 | 1 | [12 empty] | - | - | - | bar: Date Test 2 to Date Test 4; Result Test 2 to Result Test 4
14 | Cootamundra High School | Conductivity | dS/m | 0.01 |  | 1 | 1 |  |  |  | 2022-07-15 | - | - | - | 946 | - | - | - |  | - | - | -
14 | Cootamundra High School | Exchangeable Calcium | cmol/kg | 1 |  | 1 | 1 | [12 empty] | - | - | - | bar: Date Test 2 to Date Test 4; Result Test 2 to Result Test 4
14 | Cootamundra High School | Exchangeable Magnesium | cmol/kg | 1 |  | 1 | 1 | [12 empty] | - | - | - | bar: Date Test 2 to Date Test 4; Result Test 2 to Result Test 4
14 | Cootamundra High School | Exchangeable Potassium | cmol/kg | 1 |  | 1 | 1 | [12 empty] | - | - | - | bar: Date Test 2 to Date Test 4; Result Test 2 to Result Test 4
14 | Cootamundra High School | Exchangeable Sodium | cmol/kg | 0.1 |  | 1 | 1 | [12 empty] | - | - | - | bar: Date Test 2 to Date Test 4; Result Test 2 to Result Test 4
14 | Cootamundra High School | Nitrate | mg/kg | 0.1 |  | 1 | 1 |  |  |  | 2022-07-15 | - | - | - | <0.1 | - | - | - |  | - | - | -
14 | Cootamundra High School | Nitrogen (Total) | mg/kg | 20 |  | 1 | 1 |  |  |  | 2022-07-15 | - | - | - | 24 | - | - | - |  | - | - | -
14 | Cootamundra High School | Organic matter | w/w% | 0.5 |  | 1 | 1 | [12 empty] | - | - | - | bar: Date Test 2 to Date Test 4; Result Test 2 to Result Test 4
14 | Cootamundra High School | pH | pH | 0.1 |  | 1 | 1 |  |  |  | 2022-07-15 | - | - | - | 7 | - | - | - |  | - | - | -
14 | Cootamundra High School | Phosphorus (total) | mg/Kg | 2 |  | 1 | 1 |  |  |  | 2022-07-15 | - | - | - | 15.8 | - | - | - |  | - | - | -
15 | Cootamundra Public School | Available Phosphorus | mg/kg | 0.1 |  | 1 | 1 | [12 empty] | - | - | - | bar: Date Test 2 to Date Test 4; Result Test 2 to Result Test 4
15 | Cootamundra Public School | Conductivity | dS/m | 0.01 |  | 1 | 1 |  |  |  | 2022-07-15 | - | - | - | 1840 | - | - | - |  | - | - | -
15 | Cootamundra Public School | Exchangeable Calcium | cmol/kg | 1 |  | 1 | 1 | [12 empty] | - | - | - | bar: Date Test 2 to Date Test 4; Result Test 2 to Result Test 4
15 | Cootamundra Public School | Exchangeable Magnesium | cmol/kg | 1 |  | 1 | 1 | [12 empty] | - | - | - | bar: Date Test 2 to Date Test 4; Result Test 2 to Result Test 4
15 | Cootamundra Public School | Exchangeable Potassium | cmol/kg | 1 |  | 1 | 1 | [12 empty] | - | - | - | bar: Date Test 2 to Date Test 4; Result Test 2 to Result Test 4
15 | Cootamundra Public School | Exchangeable Sodium | cmol/kg | 0.1 |  | 1 | 1 | [12 empty] | - | - | - | bar: Date Test 2 to Date Test 4; Result Test 2 to Result Test 4
15 | Cootamundra Public School | Nitrate | mg/kg | 0.1 |  | 1 | 1 |  |  |  | 2022-07-15 | - | - | - | 10.6 | - | - | - |  | - | - | -
15 | Cootamundra Public School | Nitrogen (Total) | mg/kg | 20 |  | 1 | 1 |  |  |  | 2022-07-15 | - | - | - | 11 | - | - | - |  | - | - | -
15 | Cootamundra Public School | Organic matter | w/w% | 0.5 |  | 1 | 1 | [12 empty] | - | - | - | bar: Date Test 2 to Date Test 4; Result Test 2 to Result Test 4
15 | Cootamundra Public School | pH | pH | 0.1 |  | 1 | 1 |  |  |  | 2022-07-15 | - | - | - | 8.4 | - | - | - |  | - | - | -
15 | Cootamundra Public School | Phosphorus (total) | mg/Kg | 2 |  | 1 | 1 |  |  |  | 2022-07-15 | - | - | - | 2 | - | - | - |  | - | - | -
16 | Mitchell Park | Standing Water Level | metres |  |  | 4 | 0 |  |  |  | Date Test 1: 2022-10-24; Result Test 1: 0.5
17 | Albert Park | Standing Water Level | metres |  |  | 4 | 0 |  |  |  | Result Test 1: 1.5
18 | Jubilee Park | Standing Water Level | metres |  |  | 4 | 0 | bar: Result Test 1
19 | Clarke Oval Reserve | Standing Water Level | metres |  |  | 4 | 0 |  |  |  | Result Test 1: Full
20 | Bradman Oval | Standing Water Level | metres |  |  | 4 | 0 |  |  |  | Result Test 1: 0.5
21 | Nicholson Park | Standing Water Level | metres |  |  | 4 | 0 | bar: Result Test 1
22 | Country Club Oval | Standing Water Level | metres |  |  | 4 | 0 |  |  |  | Result Test 1: Full
23 | E.A. Southee School | Standing Water Level | metres |  |  | 4 | 0 |  |  |  | Result Test 1: 0.5
24 | Cootamundra High | Standing Water Level | metres |  |  | 4 | 0 |  |  |  | Result Test 1: Full
25 | Cootamundra Public | Standing Water Level | metres |  |  | 4 | 0 |  |  |  | Result Test 1: 1.2
B3 - Volume or Mass Monitoring Summary
Point No | Other Name | Parameter | Unit | LOR |  | Number of measurements made |  |  |  |  | Date Test 1: Date
(Summary)
[11 empty] | Reading (total) |  | Reading (daily)
1 | 80ML - Muttuma Ck | Discharge to waters | kL/day | N/A |  | 1 |  | 976 | 976 | 976
2 | Outlet Weir Discharge Point | Discharge to waters | kL/day | N/A |  | 1 |  | 461858 | 461858 | 461858
3 | Mitchell Park | Discharge to waters | kL/day | N/A |  | 1 |  | 5999 | 5999 | 5999
4 | Albert Park Reserve | Discharge to waters | kL/day | N/A |  | 1 |  | 5929 | 5929 | 5929
5 | Jubilee Park | Discharge to waters | kL/day | N/A |  | 1 |  | 8463 | 8463 | 8463
6 | Clarke Oval Reserve | Discharge to waters | kL/day | N/A |  | 1 |  | 4077 | 4077 | 4077
7 | Fisher Park | Discharge to waters | kL/day | N/A |  | 1 |  | 0 | 0 | 0 | bar: Date Test 1 to Date Test 2
8 | Bradman Oval | Discharge to waters | kL/day | N/A |  | 1 |  | 4957 | 4957 | 4957
9 | Cameron Square Park | Discharge to waters | kL/day | N/A |  | 1 |  | 0 | 0 | 0
10 | Nicholson Park | Discharge to waters | kL/day | N/A |  | 1 |  | 7470 | 7470 | 7470
11 | Country Club Oval | Discharge to waters | kL/day | N/A |  | 1 |  | 5685 | 5685 | 5685
12 | 80 Meg - Reuse | Discharge to waters | kL/day | N/A |  | 1 |  | 132407 | 132407 | 132407
13 | E.A. Southee School | Discharge to waters | kL/day | N/A |  | 1 |  | 0 | 0 | 0
14 | Cootamundra High School | Discharge to waters | kL/day | N/A |  | 1 |  | 29688 | 29688 | 29688
15 | Cootamundra Public School | Discharge to waters | kL/day | N/A |  | 1 |  | 363 | 363 | 363
Note on B194: ARudd: From treatment plant to 80ML storage
Note on B214: ARudd: From 80ML to town

## 2019-2020
B2 - 2019 - 2020 Concentration Monitoring Summary
Point No | Other Name | Parameter | Unit | Required tests | Undertaken tests | min | mean | max | Test 1 date | Test 2 date | Test 3 date | Test 4 date | Test 1 | Test 2 | Test 3 | Test 4 | Absolute 1 | Absolute 2 | Absolute 3 | Absolute 4
1 | 80 Meg - Muttuma Ck | BOD | mg/L | 4 | 2 | 1 | 2 | 3 | 2019-06-26 | 2019-09-16 |  |  | <2 | 3 |  |  | 1 | 3
1 | 80 Meg - Muttuma Ck | Faecals | cfu/100mL | 4 | 2 | 0.5 | 10.25 | 20 | 2019-06-26 | 2019-09-16 |  |  | 20 | <1 |  |  | 20 | 0.5
1 | 80 Meg - Muttuma Ck | Nitrogen (total) | mg/L | 4 | 2 | 1 | 2.5 | 4 | 2019-06-26 | 2019-09-16 |  |  | 4 | <2 |  |  | 4 | 1
1 | 80 Meg - Muttuma Ck | Oil & Grease | mg/L | 4 | 2 | 2 | 3 | 4 | 2019-06-26 | 2019-09-16 |  |  | 4 | 2 |  |  | 4 | 2
1 | 80 Meg - Muttuma Ck | pH | pH | 4 | 2 | 8.1 | 8.25 | 8.4 | 2019-06-26 | 2019-09-16 |  |  | 8.1 | 8.4 |  |  | 8.1 | 8.4
1 | 80 Meg - Muttuma Ck | Phosphorus | mg/L | 4 | 2 | 0.005 | 0.1375 | 0.27 | 2019-06-26 | 2019-09-16 |  |  | 0.27 | <0.01 |  |  | 0.27 | 0.005
1 | 80 Meg - Muttuma Ck | TSS | mg/L | 4 | 2 | 1 | 3.5 | 6 | 2019-06-26 | 2019-09-16 |  |  | <2 | 6 |  |  | 1 | 6
2 | Outlet Weir Discharge Point
3 | Mitchell Park | Available Phosphorus | mg/Kg | 1 | 1 | 38.8 | 38.8 | 38.8 | 2020-04-08 |  |  |  | 38.8 |  |  |  | 38.8
3 | Mitchell Park | Conductivity | dS/m | 1 | 1 | 0.1 | 0.1 | 0.1 | 2020-04-08 |  |  |  | 0.1 |  |  |  | 0.1
3 | Mitchell Park | Exchangeable Calcium | cmol/kg | 1 | 1 | 9 | 9 | 9 | 2020-04-08 |  |  |  | 9 |  |  |  | 9
3 | Mitchell Park | Exchangeable Magnesium | cmol/kg | 1 | 1 | 6 | 6 | 6 | 2020-04-08 |  |  |  | 6 |  |  |  | 6
3 | Mitchell Park | Exchangeable Potassium | cmol/kg | 1 | 1 | 1 | 1 | 1 | 2020-04-08 |  |  |  | 1 |  |  |  | 1
3 | Mitchell Park | Exchangeable Sodium | cmol/kg | 1 | 1 | 0.6 | 0.6 | 0.6 | 2020-04-08 |  |  |  | 0.6 |  |  |  | 0.6
3 | Mitchell Park | Nitrate | mg/Kg | 1 | 1 | 0.2 | 0.2 | 0.2 | 2020-04-08 |  |  |  | 0.2 |  |  |  | 0.2
3 | Mitchell Park | Nitrogen (Total) | mg/Kg | 1 | 1 | 2640 | 2640 | 2640 | 2020-04-08 |  |  |  | 2640 |  |  |  | 2640
3 | Mitchell Park | Organic matter | w/w% | 1 | 1 | 5.9 | 5.9 | 5.9 | 2020-04-08 |  |  |  | 5.9 |  |  |  | 5.9
3 | Mitchell Park | pH | pH | 1 | 1 | 7.3 | 7.3 | 7.3 | 2020-04-08 |  |  |  | 7.3 |  |  |  | 7.3
3 | Mitchell Park | Phosphorus (Total) | mg/Kg | 1 | 1 | 553 | 553 | 553 | 2020-04-08 |  |  |  | 553 |  |  |  | 553
4 | Albert Park | Available Phosphorus | mg/Kg | 1 | 1 | 5.5 | 5.5 | 5.5 | 2020-04-08 |  |  |  | 5.5 |  |  |  | 5.5
4 | Albert Park | Conductivity | dS/m | 1 | 1 | 0.14 | 0.14 | 0.14 | 2020-04-08 |  |  |  | 0.14 |  |  |  | 0.14
4 | Albert Park | Exchangeable Calcium | cmol/kg | 1 | 1 | 8 | 8 | 8 | 2020-04-08 |  |  |  | 8 |  |  |  | 8
4 | Albert Park | Exchangeable Magnesium | cmol/kg | 1 | 1 | 6 | 6 | 6 | 2020-04-08 |  |  |  | 6 |  |  |  | 6
4 | Albert Park | Exchangeable Potassium | cmol/kg | 1 | 1 | 2 | 2 | 2 | 2020-04-08 |  |  |  | 2 |  |  |  | 2
4 | Albert Park | Exchangeable Sodium | cmol/kg | 1 | 1 | 0.8 | 0.8 | 0.8 | 2020-04-08 |  |  |  | 0.8 |  |  |  | 0.8
4 | Albert Park | Nitrate | mg/Kg | 1 | 1 | 0.2 | 0.2 | 0.2 | 2020-04-08 |  |  |  | 0.2 |  |  |  | 0.2
4 | Albert Park | Nitrogen (Total) | mg/Kg | 1 | 1 | 2710 | 2710 | 2710 | 2020-04-08 |  |  |  | 2710 |  |  |  | 2710
4 | Albert Park | Organic matter | w/w% | 1 | 1 | 6.1 | 6.1 | 6.1 | 2020-04-08 |  |  |  | 6.1 |  |  |  | 6.1
4 | Albert Park | pH | pH | 1 | 1 | 7.2 | 7.2 | 7.2 | 2020-04-08 |  |  |  | 7.2 |  |  |  | 7.2
4 | Albert Park | Phosphorus (Total) | mg/Kg | 1 | 1 | 457 | 457 | 457 | 2020-04-08 |  |  |  | 457 |  |  |  | 457
5 | Jubilee Park | Available Phosphorus | mg/Kg | 1 | 1 | 16.4 | 16.4 | 16.4 | 2020-04-08 |  |  |  | 16.4 |  |  |  | 16.4
5 | Jubilee Park | Conductivity | dS/m | 1 | 1 | 0.19 | 0.19 | 0.19 | 2020-04-08 |  |  |  | 0.19 |  |  |  | 0.19
5 | Jubilee Park | Exchangeable Calcium | cmol/kg | 1 | 1 | 10 | 10 | 10 | 2020-04-08 |  |  |  | 10 |  |  |  | 10
5 | Jubilee Park | Exchangeable Magnesium | cmol/kg | 1 | 1 | 7 | 7 | 7 | 2020-04-08 |  |  |  | 7 |  |  |  | 7
5 | Jubilee Park | Exchangeable Potassium | cmol/kg | 1 | 1 | 2 | 2 | 2 | 2020-04-08 |  |  |  | 2 |  |  |  | 2
5 | Jubilee Park | Exchangeable Sodium | cmol/kg | 1 | 1 | 0.8 | 0.8 | 0.8 | 2020-04-08 |  |  |  | 0.8 |  |  |  | 0.8
5 | Jubilee Park | Nitrate | mg/Kg | 1 | 1 | 0.5 | 0.5 | 0.5 | 2020-04-08 |  |  |  | 0.5 |  |  |  | 0.5
5 | Jubilee Park | Nitrogen (Total) | mg/Kg | 1 | 1 | 2740 | 2740 | 2740 | 2020-04-08 |  |  |  | 2740 |  |  |  | 2740
5 | Jubilee Park | Organic matter | w/w% | 1 | 1 | 5.6 | 5.6 | 5.6 | 2020-04-08 |  |  |  | 5.6 |  |  |  | 5.6
5 | Jubilee Park | pH | pH | 1 | 1 | 6.9 | 6.9 | 6.9 | 2020-04-08 |  |  |  | 6.9 |  |  |  | 6.9
5 | Jubilee Park | Phosphorus (Total) | mg/Kg | 1 | 1 | 456 | 456 | 456 | 2020-04-08 |  |  |  | 456 |  |  |  | 456
6 | Clarke Oval | Available Phosphorus | mg/Kg | 1 | 1 | 29.4 | 29.4 | 29.4 | 2020-04-08 |  |  |  | 29.4 |  |  |  | 29.4
6 | Clarke Oval | Conductivity | dS/m | 1 | 1 | 0.2 | 0.2 | 0.2 | 2020-04-08 |  |  |  | 0.2 |  |  |  | 0.2
6 | Clarke Oval | Exchangeable Calcium | cmol/kg | 1 | 1 | 7 | 7 | 7 | 2020-04-08 |  |  |  | 7 |  |  |  | 7
6 | Clarke Oval | Exchangeable Magnesium | cmol/kg | 1 | 1 | 6 | 6 | 6 | 2020-04-08 |  |  |  | 6 |  |  |  | 6
6 | Clarke Oval | Exchangeable Potassium | cmol/kg | 1 | 1 | 2 | 2 | 2 | 2020-04-08 |  |  |  | 2 |  |  |  | 2
6 | Clarke Oval | Exchangeable Sodium | cmol/kg | 1 | 1 | 1 | 1 | 1 | 2020-04-08 |  |  |  | 1 |  |  |  | 1
6 | Clarke Oval | Nitrate | mg/Kg | 1 | 1 | 0.3 | 0.3 | 0.3 | 2020-04-08 |  |  |  | 0.3 |  |  |  | 0.3
6 | Clarke Oval | Nitrogen (Total) | mg/Kg | 1 | 1 | 2740 | 2740 | 2740 | 2020-04-08 |  |  |  | 2740 |  |  |  | 2740
6 | Clarke Oval | Organic matter | w/w% | 1 | 1 | 6.5 | 6.5 | 6.5 | 2020-04-08 |  |  |  | 6.5 |  |  |  | 6.5
6 | Clarke Oval | pH | pH | 1 | 1 | 6.9 | 6.9 | 6.9 | 2020-04-08 |  |  |  | 6.9 |  |  |  | 6.9
6 | Clarke Oval | Phosphorus (Total) | mg/Kg | 1 | 1 | 556 | 556 | 556 | 2020-04-08 |  |  |  | 556 |  |  |  | 556
7 | Fisher Park | Available Phosphorus | mg/Kg | 1 | 1 | 72.8 | 72.8 | 72.8 | 2020-04-08 |  |  |  | 72.8 |  |  |  | 72.8
7 | Fisher Park | Conductivity | dS/m | 1 | 1 | 0.26 | 0.26 | 0.26 | 2020-04-08 |  |  |  | 0.26 |  |  |  | 0.26
7 | Fisher Park | Exchangeable Calcium | cmol/kg | 1 | 1 | 10 | 10 | 10 | 2020-04-08 |  |  |  | 10 |  |  |  | 10
7 | Fisher Park | Exchangeable Magnesium | cmol/kg | 1 | 1 | 7 | 7 | 7 | 2020-04-08 |  |  |  | 7 |  |  |  | 7
7 | Fisher Park | Exchangeable Potassium | cmol/kg | 1 | 1 | 2 | 2 | 2 | 2020-04-08 |  |  |  | 2 |  |  |  | 2
7 | Fisher Park | Exchangeable Sodium | cmol/kg | 1 | 1 | 1.3 | 1.3 | 1.3 | 2020-04-08 |  |  |  | 1.3 |  |  |  | 1.3
7 | Fisher Park | Nitrate | mg/Kg | 1 | 1 | 0.2 | 0.2 | 0.2 | 2020-04-08 |  |  |  | 0.2 |  |  |  | 0.2
7 | Fisher Park | Nitrogen (Total) | mg/Kg | 1 | 1 | 10 | 10 | 10 | 2020-04-08 |  |  |  | <20 |  |  |  | 10
7 | Fisher Park | Organic matter | w/w% | 1 | 1 | 6 | 6 | 6 | 2020-04-08 |  |  |  | 6 |  |  |  | 6
7 | Fisher Park | pH | pH | 1 | 1 | 7.5 | 7.5 | 7.5 | 2020-04-08 |  |  |  | 7.5 |  |  |  | 7.5
7 | Fisher Park | Phosphorus (Total) | mg/Kg | 1 | 1 | 655 | 655 | 655 | 2020-04-08 |  |  |  | 655 |  |  |  | 655
8 | Bradman Oval | Available Phosphorus | mg/Kg | 1 | 1 | 21.3 | 21.3 | 21.3 | 2020-04-08 |  |  |  | 21.3 |  |  |  | 21.3
8 | Bradman Oval | Conductivity | dS/m | 1 | 1 | 0.13 | 0.13 | 0.13 | 2020-04-08 |  |  |  | 0.13 |  |  |  | 0.13
8 | Bradman Oval | Exchangeable Calcium | cmol/kg | 1 | 1 | 5 | 5 | 5 | 2020-04-08 |  |  |  | 5 |  |  |  | 5
8 | Bradman Oval | Exchangeable Magnesium | cmol/kg | 1 | 1 | 4 | 4 | 4 | 2020-04-08 |  |  |  | 4 |  |  |  | 4
8 | Bradman Oval | Exchangeable Potassium | cmol/kg | 1 | 1 | 1 | 1 | 1 | 2020-04-08 |  |  |  | 1 |  |  |  | 1
8 | Bradman Oval | Exchangeable Sodium | cmol/kg | 1 | 1 | 0.7 | 0.7 | 0.7 | 2020-04-08 |  |  |  | 0.7 |  |  |  | 0.7
8 | Bradman Oval | Nitrate | mg/Kg | 1 | 1 | 0.1 | 0.1 | 0.1 | 2020-04-08 |  |  |  | 0.1 |  |  |  | 0.1
8 | Bradman Oval | Nitrogen (Total) | mg/Kg | 1 | 1 | 1790 | 1790 | 1790 | 2020-04-08 |  |  |  | 1790 |  |  |  | 1790
8 | Bradman Oval | Organic matter | w/w% | 1 | 1 | 4.9 | 4.9 | 4.9 | 2020-04-08 |  |  |  | 4.9 |  |  |  | 4.9
8 | Bradman Oval | pH | pH | 1 | 1 | 7.2 | 7.2 | 7.2 | 2020-04-08 |  |  |  | 7.2 |  |  |  | 7.2
8 | Bradman Oval | Phosphorus (Total) | mg/Kg | 1 | 1 | 398 | 398 | 398 | 2020-04-08 |  |  |  | 398 |  |  |  | 398
9 | Cameron Square | Available Phosphorus | mg/Kg | 1 | 1 | 332 | 332 | 332 | 2020-04-08 |  |  |  | 332 |  |  |  | 332
9 | Cameron Square | Conductivity | dS/m | 1 | 1 | 0.1 | 0.1 | 0.1 | 2020-04-08 |  |  |  | 0.1 |  |  |  | 0.1
9 | Cameron Square | Exchangeable Calcium | cmol/kg | 1 | 1 | 6 | 6 | 6 | 2020-04-08 |  |  |  | 6 |  |  |  | 6
9 | Cameron Square | Exchangeable Magnesium | cmol/kg | 1 | 1 | 2 | 2 | 2 | 2020-04-08 |  |  |  | 2 |  |  |  | 2
9 | Cameron Square | Exchangeable Potassium | cmol/kg | 1 | 1 | 2 | 2 | 2 | 2020-04-08 |  |  |  | 2 |  |  |  | 2
9 | Cameron Square | Exchangeable Sodium | cmol/kg | 1 | 1 | 0.1 | 0.1 | 0.1 | 2020-04-08 |  |  |  | 0.1 |  |  |  | 0.1
9 | Cameron Square | Nitrate | mg/Kg | 1 | 1 | 0.5 | 0.5 | 0.5 | 2020-04-08 |  |  |  | 0.5 |  |  |  | 0.5
9 | Cameron Square | Nitrogen (Total) | mg/Kg | 1 | 1 | 2110 | 2110 | 2110 | 2020-04-08 |  |  |  | 2110 |  |  |  | 2110
9 | Cameron Square | Organic matter | w/w% | 1 | 1 | 3.5 | 3.5 | 3.5 | 2020-04-08 |  |  |  | 3.5 |  |  |  | 3.5
9 | Cameron Square | pH | pH | 1 | 1 | 6.4 | 6.4 | 6.4 | 2020-04-08 |  |  |  | 6.4 |  |  |  | 6.4
9 | Cameron Square | Phosphorus (Total) | mg/Kg | 1 | 1 | 332 | 332 | 332 | 2020-04-08 |  |  |  | 332 |  |  |  | 332
10 | Nicholson Park | Available Phosphorus | mg/Kg | 1 | 1 | 15 | 15 | 15 | 2020-04-08 |  |  |  | 15 |  |  |  | 15
10 | Nicholson Park | Conductivity | dS/m | 1 | 1 | 0.15 | 0.15 | 0.15 | 2020-04-08 |  |  |  | 0.15 |  |  |  | 0.15
10 | Nicholson Park | Exchangeable Calcium | cmol/kg | 1 | 1 | 13 | 13 | 13 | 2020-04-08 |  |  |  | 13 |  |  |  | 13
10 | Nicholson Park | Exchangeable Magnesium | cmol/kg | 1 | 1 | 7 | 7 | 7 | 2020-04-08 |  |  |  | 7 |  |  |  | 7
10 | Nicholson Park | Exchangeable Potassium | cmol/kg | 1 | 1 | 2 | 2 | 2 | 2020-04-08 |  |  |  | 2 |  |  |  | 2
10 | Nicholson Park | Exchangeable Sodium | cmol/kg | 1 | 1 | 1.2 | 1.2 | 1.2 | 2020-04-08 |  |  |  | 1.2 |  |  |  | 1.2
10 | Nicholson Park | Nitrate | mg/Kg | 1 | 1 | 0.4 | 0.4 | 0.4 | 2020-04-08 |  |  |  | 0.4 |  |  |  | 0.4
10 | Nicholson Park | Nitrogen (Total) | mg/Kg | 1 | 1 | 3730 | 3730 | 3730 | 2020-04-08 |  |  |  | 3730 |  |  |  | 3730
10 | Nicholson Park | Organic matter | w/w% | 1 | 1 | 7.4 | 7.4 | 7.4 | 2020-04-08 |  |  |  | 7.4 |  |  |  | 7.4
10 | Nicholson Park | pH | pH | 1 | 1 | 7.3 | 7.3 | 7.3 | 2020-04-08 |  |  |  | 7.3 |  |  |  | 7.3
10 | Nicholson Park | Phosphorus (Total) | mg/Kg | 1 | 1 | 569 | 569 | 569 | 2020-04-08 |  |  |  | 569 |  |  |  | 569
11 | Country Club Oval | Available Phosphorus | mg/Kg | 1 | 1 | 27.4 | 27.4 | 27.4 | 2020-04-08 |  |  |  | 27.4 |  |  |  | 27.4
11 | Country Club Oval | Conductivity | dS/m | 1 | 1 | 0.12 | 0.12 | 0.12 | 2020-04-08 |  |  |  | 0.12 |  |  |  | 0.12
11 | Country Club Oval | Exchangeable Calcium | cmol/kg | 1 | 1 | 4 | 4 | 4 | 2020-04-08 |  |  |  | 4 |  |  |  | 4
11 | Country Club Oval | Exchangeable Magnesium | cmol/kg | 1 | 1 | 3 | 3 | 3 | 2020-04-08 |  |  |  | 3 |  |  |  | 3
11 | Country Club Oval | Exchangeable Potassium | cmol/kg | 1 | 1 | 0.05 | 0.05 | 0.05 | 2020-04-08 |  |  |  | <0.1 |  |  |  | 0.05
11 | Country Club Oval | Exchangeable Sodium | cmol/kg | 1 | 1 | 0.5 | 0.5 | 0.5 | 2020-04-08 |  |  |  | 0.5 |  |  |  | 0.5
11 | Country Club Oval | Nitrate | mg/Kg | 1 | 1 | 0.3 | 0.3 | 0.3 | 2020-04-08 |  |  |  | 0.3 |  |  |  | 0.3
11 | Country Club Oval | Nitrogen (Total) | mg/Kg | 1 | 1 | 860 | 860 | 860 | 2020-04-08 |  |  |  | 860 |  |  |  | 860
11 | Country Club Oval | Organic matter | w/w% | 1 | 1 | 2.9 | 2.9 | 2.9 | 2020-04-08 |  |  |  | 2.9 |  |  |  | 2.9
11 | Country Club Oval | pH | pH | 1 | 1 | 7.4 | 7.4 | 7.4 | 2020-04-08 |  |  |  | 7.4 |  |  |  | 7.4
11 | Country Club Oval | Phosphorus (Total) | mg/Kg | 1 | 1 | 257 | 257 | 257 | 2020-04-08 |  |  |  | 257 |  |  |  | 257
12 | 80 Meg - Reuse | BOD | mg/L | 4 | 4 | 3 | 5.5 | 11 | 2020-04-06 | 2019-12-02 | 2019-09-16 | 2019-06-26 | 3 | 5 | 3 | 11 | 3 | 5 | 3 | 11
12 | 80 Meg - Reuse | Faecals | cfu/100mL | 4 | 4 | 9 | 277.25 | 1000 | 2020-04-06 | 2019-12-02 | 2019-09-16 | 2019-06-26 | 80 | 20 | 9 | 1000 | 80 | 20 | 9 | 1000
12 | 80 Meg - Reuse | Nitrogen (total) | mg/L | 4 | 4 | 1 | 3 | 7 | 2020-04-06 | 2019-12-02 | 2019-09-16 | 2019-06-26 | 2 | 2 | <2 | 7 | 2 | 2 | 1 | 7
12 | 80 Meg - Reuse | Oil & Grease | mg/L | 4 | 4 | 1 | 3.25 | 5 | 2020-04-06 | 2019-12-02 | 2019-09-16 | 2019-06-26 | 1 | 5 | 2 | 5 | 1 | 5 | 2 | 5
12 | 80 Meg - Reuse | pH | pH | 4 | 4 | 7.9 | 8.3 | 8.8 | 2020-04-06 | 2019-12-02 | 2019-09-16 | 2019-06-26 | 7.9 | 8.8 | 8.6 | 7.9 | 7.9 | 8.8 | 8.6 | 7.9
12 | 80 Meg - Reuse | Phosphorus | mg/L | 4 | 4 | 0.005 | 0.2975 | 0.83 | 2020-04-06 | 2019-12-02 | 2019-09-16 | 2019-06-26 | 0.35 | <0.01 | <0.01 | 0.83 | 0.35 | 0.005 | 0.005 | 0.83
12 | 80 Meg - Reuse | TSS | mg/L | 4 | 4 | 1 | 4.75 | 8 | 2020-04-06 | 2019-12-02 | 2019-09-16 | 2019-06-26 | 3 | 7 | 8 | 3 | 1 | 7 | 8 | 3
13 | E.A. Southee School | Available Phosphorus | mg/Kg | 1 | 1 | 14.4 | 14.4 | 14.4 | 2020-04-08 |  |  |  | 14.4 |  |  |  | 14.4
13 | E.A. Southee School | Conductivity | dS/m | 1 | 1 | 0.14 | 0.14 | 0.14 | 2020-04-08 |  |  |  | 0.14 |  |  |  | 0.14
13 | E.A. Southee School | Exchangeable Calcium | cmol/kg | 1 | 1 | 6 | 6 | 6 | 2020-04-08 |  |  |  | 6 |  |  |  | 6
13 | E.A. Southee School | Exchangeable Magnesium | cmol/kg | 1 | 1 | 5 | 5 | 5 | 2020-04-08 |  |  |  | 5 |  |  |  | 5
13 | E.A. Southee School | Exchangeable Potassium | cmol/kg | 1 | 1 | 2 | 2 | 2 | 2020-04-08 |  |  |  | 2 |  |  |  | 2
13 | E.A. Southee School | Exchangeable Sodium | cmol/kg | 1 | 1 | 0.7 | 0.7 | 0.7 | 2020-04-08 |  |  |  | 0.7 |  |  |  | 0.7
13 | E.A. Southee School | Nitrate | mg/Kg | 1 | 1 | 0.4 | 0.4 | 0.4 | 2020-04-08 |  |  |  | 0.4 |  |  |  | 0.4
13 | E.A. Southee School | Nitrogen (Total) | mg/Kg | 1 | 1 | 2440 | 2440 | 2440 | 2020-04-08 |  |  |  | 2440 |  |  |  | 2440
13 | E.A. Southee School | Organic matter | w/w% | 1 | 1 | 5.2 | 5.2 | 5.2 | 2020-04-08 |  |  |  | 5.2 |  |  |  | 5.2
13 | E.A. Southee School | pH | pH | 1 | 1 | 6.8 | 6.8 | 6.8 | 2020-04-08 |  |  |  | 6.8 |  |  |  | 6.8
13 | E.A. Southee School | Phosphorus (Total) | mg/Kg | 1 | 1 | 419 | 419 | 419 | 2020-04-08 |  |  |  | 419 |  |  |  | 419
14 | Cootamundra High | Available Phosphorus | mg/Kg | 1 | 1 | 4.2 | 4.2 | 4.2 | 2020-04-08 |  |  |  | 4.2 |  |  |  | 4.2
14 | Cootamundra High | Conductivity | dS/m | 1 | 1 | 0.11 | 0.11 | 0.11 | 2020-04-08 |  |  |  | 0.11 |  |  |  | 0.11
14 | Cootamundra High | Exchangeable Calcium | cmol/kg | 1 | 1 | 6 | 6 | 6 | 2020-04-08 |  |  |  | 6 |  |  |  | 6
14 | Cootamundra High | Exchangeable Magnesium | cmol/kg | 1 | 1 | 3 | 3 | 3 | 2020-04-08 |  |  |  | 3 |  |  |  | 3
14 | Cootamundra High | Exchangeable Potassium | cmol/kg | 1 | 1 | 1 | 1 | 1 | 2020-04-08 |  |  |  | 1 |  |  |  | 1
14 | Cootamundra High | Exchangeable Sodium | cmol/kg | 1 | 1 | 0.4 | 0.4 | 0.4 | 2020-04-08 |  |  |  | 0.4 |  |  |  | 0.4
14 | Cootamundra High | Nitrate | mg/Kg | 1 | 1 | 0.2 | 0.2 | 0.2 | 2020-04-08 |  |  |  | 0.2 |  |  |  | 0.2
14 | Cootamundra High | Nitrogen (Total) | mg/Kg | 1 | 1 | 1260 | 1260 | 1260 | 2020-04-08 |  |  |  | 1260 |  |  |  | 1260
14 | Cootamundra High | Organic matter | w/w% | 1 | 1 | 3 | 3 | 3 | 2020-04-08 |  |  |  | 3 |  |  |  | 3
14 | Cootamundra High | pH | pH | 1 | 1 | 7 | 7 | 7 | 2020-04-08 |  |  |  | 7 |  |  |  | 7
14 | Cootamundra High | Phosphorus (Total) | mg/Kg | 1 | 1 | 234 | 234 | 234 | 2020-04-08 |  |  |  | 234 |  |  |  | 234
15 | CootamundraPublic | Available Phosphorus | mg/Kg | 1 | 1 | 19.4 | 19.4 | 19.4 | 2020-04-08 |  |  |  | 19.4 |  |  |  | 19.4
15 | CootamundraPublic | Conductivity | dS/m | 1 | 1 | 0.1 | 0.1 | 0.1 | 2020-04-08 |  |  |  | 0.1 |  |  |  | 0.1
15 | CootamundraPublic | Exchangeable Calcium | cmol/kg | 1 | 1 | 7 | 7 | 7 | 2020-04-08 |  |  |  | 7 |  |  |  | 7
15 | CootamundraPublic | Exchangeable Magnesium | cmol/kg | 1 | 1 | 4 | 4 | 4 | 2020-04-08 |  |  |  | 4 |  |  |  | 4
15 | CootamundraPublic | Exchangeable Potassium | cmol/kg | 1 | 1 | 1 | 1 | 1 | 2020-04-08 |  |  |  | 1 |  |  |  | 1
15 | CootamundraPublic | Exchangeable Sodium | cmol/kg | 1 | 1 | 0.7 | 0.7 | 0.7 | 2020-04-08 |  |  |  | 0.7 |  |  |  | 0.7
15 | CootamundraPublic | Nitrate | mg/Kg | 1 | 1 | 0.2 | 0.2 | 0.2 | 2020-04-08 |  |  |  | 0.2 |  |  |  | 0.2
15 | CootamundraPublic | Nitrogen (Total) | mg/Kg | 1 | 1 | 1720 | 1720 | 1720 | 2020-04-08 |  |  |  | 1720 |  |  |  | 1720
15 | CootamundraPublic | Organic matter | w/w% | 1 | 1 | 4.2 | 4.2 | 4.2 | 2020-04-08 |  |  |  | 4.2 |  |  |  | 4.2
15 | CootamundraPublic | pH | pH | 1 | 1 | 7.1 | 7.1 | 7.1 | 2020-04-08 |  |  |  | 7.1 |  |  |  | 7.1
15 | CootamundraPublic | Phosphorus (Total) | mg/Kg | 1 | 1 | 381 | 381 | 381 | 2020-04-08 |  |  |  | 381 |  |  |  | 381
16 | Mitchell Park | SWL | metres | 4 | 4 | 2.3 | 2.5 | 2.7 | 2019-07-08 | 2019-10-14 | 2020-02-04 | 2020-04-22 | 2.4 | 2.3 | 2.6 | 2.7 | 2.4 | 2.3 | 2.6 | 2.7
17 | Albert Park | SWL | metres | 4 | 4 | 4.4 | 4.825 | 5.4 | 2019-07-08 | 2019-10-14 | 2020-02-04 | 2020-04-22 | 4.4 | 4.6 | 5.4 | 4.9 | 4.4 | 4.6 | 5.4 | 4.9
18 | Jubilee Park | SWL | metres | 4 | 4 | - | - | - | 2019-07-08 | 2019-10-14 | 2020-02-04 | 2020-04-22 | - | - | - | - | - | - | - | -
19 | Clarke Oval Reserve | SWL | metres | 4 | 4 | 3 | 3.3 | 3.6 | 2019-07-08 | 2019-10-14 | 2020-02-04 | 2020-04-22 | 3 | 3.3 | 3.6 | 3.3 | 3 | 3.3 | 3.6 | 3.3
20 | Bradman Oval | SWL | metres | 4 | 4 | 2.2 | 2.65 | 3.2 | 2019-07-08 | 2019-10-14 | 2020-02-04 | 2020-04-22 | 2.2 | 2.2 | 3.2 | 3 | 2.2 | 2.2 | 3.2 | 3
21 | Nicholson Park | SWL | metres | 4 | 4 | 3.4 | 3.55 | 3.8 | 2019-07-08 | 2019-10-14 | 2020-02-04 | 2020-04-22 | 3.5 | 3.4 | 3.8 | 3.5 | 3.5 | 3.4 | 3.8 | 3.5
22 | Country Club Oval | SWL | metres | 4 | 4 | 0 | 0.375 | 0.9 | 2019-07-08 | 2019-10-14 | 2020-02-04 | 2020-04-22 | 0 | 0 | 0.9 | 0.6 | 0 | 0 | 0.9 | 0.6
23 | E.A. Southee School | SWL | metres | 4 | 3 | 1.95 | 2.05 | 2.2 | 2019-07-08 | 2019-10-14 | 2020-02-04 | 2020-04-22 | 1.95 | 2 |  | 2.2 | 1.95 | 2 |  | 2.2
24 | Cootamundra High | SWL | metres | 4 | 4 | 2.1 | 2.55 | 3.2 | 2019-07-08 | 2019-10-14 | 2020-02-04 | 2020-04-22 | 2.1 | 2.3 | 3.2 | 2.6 | 2.1 | 2.3 | 3.2 | 2.6
25 | Cootamundra Public | SWL | metres | 4 | 4 | 2.9 | 3.375 | 3.9 | 2019-07-08 | 2019-10-14 | 2020-02-04 | 2020-04-22 | 3.9 | 2.9 | 3.5 | 3.2 | 3.9 | 2.9 | 3.5 | 3.2