## Point 5 - Outlet Pipe
| Location: Gundagai STP |  |  |  | Licence Point: Outlet pipe that discharges into the Murrumbidgee (Point 5)
Licence Number: NO. 1721
Reporting Period: 2022-2023
| Month | Ammonia | BOD | Faecal Coliforms |  | Nitrogen (total) | Oil and Grease | pH | Phosphorus (total) | Total Suspended Solids
Units | date | mg/L | mg/L | cfu/100ml |  | mg/L | mg/L | pH | ratio | mg/L
2022-2023
1 | 2022-11-01
2 |  | <.01 | 5 | <1 |  | 4 | <1 | 7.8 | 0.85 | <2
3 | 2022-12-01
4 |  | <0.1 | <2 | <1 |  | 4 | <1 | 7.4 | 0.09 | 4
5 | 2023-01-01
6 |  | <0.1 | <2 | <1 |  | 4 | 1 | 7.1 | 3.05 | <2
7 | 2023-02-01
8 |  | 0.5 | 9 | 174 |  | 12 | <1 | 8 | 1.16 | 34
9 | 2023-03-01
10 |  | 0.7 | <2 | 4 |  | 3 | 3 | 6 | 0.21 | <2
11 | 2023-04-01
12 |  | 0.1 | <2 | <1 |  | 6 | <1 | 7 | 0.06 | <2
2023-2024
13 | 2023-05-01
14 |  | <0.1 | <2 | <1 |  | 9 | 5 | 6.7 | 0.14 | <2
15 | 2023-06-01
16 |  | 0.3 | <2 | <1 |  | 5 | <1 | 7.7 | 0.17 | <2
17 | 2023-07-01
18 |  | 1.3 | <2 | <1 |  | 11 | <1 | 6.6 | 0.17 | <2
19 | 2023-08-01
20 |  | 0.3 | <2 | <1 |  | 5 | 2 | 7.3 | 0.04 | <2
21 | 2023-09-01
22 |  | 0.2 | <2 | 34 |  | 13 | 2 | 7 | <0.01 | <2
23 | 2023-10-01
24 |  | 0.6 | <2 | <1 |  | 11 | 1 | 7.5 | 0.45 | <2
25 | 2023-11-01
26 |  | 0.1 | <2 | <1 |  | 6 | <1 | 7.2 | 0.58 | <2
27 | 2023-12-01
28 |  | 0.3 | <2 | <1 |  | 8 | <1 | 6.6 | 0.21 | <2
29 | 2024-01-01
30 |  | 12 | 10 | 80 |  | 24 | <1 | 6.3 | 0.66 | <2
31 | 2024-02-01
32 |  | 0.2 | 2 | 170 |  | 9 | 1 | 6.6 | 0.19 | <2
33 | 2024-03-01
34 |  | 0.3 | 10 | 150 |  | 7 | 1 | 7.2 | 0.36 | <2
35 | 2024-04-01
36 |  | 1.8 | 9 | 60 |  | 26 | <1 | 7.3 | 0.29 | 2
37
38
39
40
41

## Point 6 - Effluent Reuse
| Location: Gundagai STP |  |  |  | Licence Point: Discharge from the effluent storage tank to the Bidgee Banks Golf Course (Point 6)
Licence Number: NO. 1721
Reporting Period: 2022-2023
| Month | Ammonia | BOD | Faecal Coliforms |  | Nitrogen (total) | Oil and Grease | pH | Phosphorus (total) | Total Suspended Solids
Units | date | mg/L | mg/L | cfu/100ml |  | mg/L | mg/L | pH | ratio | mg/L
2022-2023
1 | 2022-11-01
2 |  | <0.1 | <2 | <1 |  | 8 | 1 | 7.3 | 0.49 | <2
3 | 2022-12-01
4 |  | <0.1 | <2 | <1 |  | 8 | 1 | 7.4 | 0.4 | 6
5 | 2023-01-01
6 |  | <0.1 | <2 | <1 |  | 6 | 1 | 7.3 | 1.72 | <2
7 | 2023-02-01
8 |  | <0.1 | <2 | <1 |  | 8 | 1 | 8 | 0.41 | 4
9 | 2023-03-01
10 |  | <0.1 | <2 | 30 |  | 5 | 4 | 6.2 | 0.19 | <2
11 | 2023-04-01
12 |  | <0.1 | 3 | <1 |  | 6 | <1 | 7 | 0.1 | <2
2023-2024
13 | 2023-05-01
14 |  | 0.1 | <2 | <1 |  | 10 | 2 | 7.1 | 0.21 | <2
15 | 2023-06-01
16 |  | <0.1 | 7 | 110 |  | 7 | <1 | 7.7 | 0.14 | <2
17 | 2023-07-01
18 |  | 0.8 | 4 | <1 |  | 9 | <1 | 6.7 | 0.14 | <2
19 | 2023-08-01
20 |  | <0.1 | <2 | <1 |  | 8 | 3 | 7.2 | 0.11 | <2
21 | 2023-09-01
22 |  | <0.1 | <2 | <1 |  | 7 | 2 | 7 | <0.01 | <2
23 | 2023-10-01
24 |  | <0.1 | <2 | <1 |  | 8 | <1 | 7.4 | 0.3 | <2
25 | 2023-11-01
26 |  | <0.1 | <2 | <1 |  | 6 | <1 | 6.3 | 0.28 | <2
27 | 2023-12-01
28 |  | 0.6 | <2 | <1 |  | 9 | <1 | 6.7 | 0.11 | <2
29 | 2024-01-01
30 |  | 8.1 | 10 | 21 |  | 12 | <1 | 6.4 | 0.44 | <2
31 | 2024-02-01
32 |  | <0.1 | 22 | 40 |  | 6 | 3 | 6.6 | 0.23 | <2
33 | 2024-03-01
34 |  | 0.8 | 7 | 30 |  | 9 | 2 | 7.1 | 0.44 | 2
35 | 2024-04-01
36 |  | 0.8 | 9 | <1 |  | 10 | 1 | 7.1 | 0.22 | <2
37
38
39
40
41

## Point 7- Parks & Ovals
| Location: Gundagai STP |  |  |  | Licence Point: Discharge from the effluent storage tank to Anzac Park, Stan Crowe Oval & Owen Vincent Oval (Point 7)
Licence Number: NO. 1721
Reporting Period: 2022-2023
| Month | Ammonia | BOD | Faecal Coliforms |  | Nitrogen (total) | Oil and Grease | pH | Phosphorus (total) | Total Suspended Solids
Units | date | mg/L | mg/L | cfu/100ml |  | mg/L | mg/L | pH | ratio | mg/L
2022-2023
1 | 2022-11-01
2 |  | <0.1 | <2 | <1 |  | 8 | 1 | 7.3 | 0.49 | <2
3 | 2022-12-01
4 |  | <0.1 | <2 | <1 |  | 8 | 1 | 7.4 | 0.4 | 6
5 | 2023-01-01
6 |  | <0.1 | <2 | <1 |  | 6 | 1 | 7.3 | 1.72 | <2
7 | 2023-02-01
8 |  | <0.1 | <2 | <1 |  | 8 | 1 | 8 | 0.41 | 4
9 | 2023-03-01
10 |  | <0.1 | <2 | 30 |  | 5 | 4 | 6.2 | 0.19 | <2
11 | 2023-04-01
12 |  | <0.1 | 3 | <1 |  | 6 | <1 | 7 | 0.1 | <2
2023-2024
13 | 2023-05-01
14 |  | 0.1 | <2 | <1 |  | 10 | 2 | 7.1 | 0.21 | <2
15 | 2023-06-01
16 |  | <0.1 | 7 | 110 |  | 7 | <1 | 7.7 | 0.14 | <2
17 | 2023-07-01
18 |  | 0.8 | 4 | <1 |  | 9 | <1 | 6.7 | 0.14 | <2
19 | 2023-08-01
20 |  | <0.1 | <2 | <1 |  | 8 | 3 | 7.2 | 0.11 | <2
21 | 2023-09-01
22 |  | <0.1 | <2 | <1 |  | 7 | 2 | 7 | <0.01 | <2
23 | 2023-10-01
24 |  | <0.1 | <2 | <1 |  | 8 | <1 | 7.4 | 0.3 | <2
25 | 2023-11-01
26 |  | <0.1 | <2 | <1 |  | 6 | <1 | 6.3 | 0.28 | <2
27 | 2023-12-01
28 |  | 0.6 | <2 | <1 |  | 9 | <1 | 6.7 | 0.11 | <2
29 | 2024-01-01
30 |  | 8.1 | 10 | 21 |  | 12 | <1 | 6.4 | 0.44 | <2
31 | 2024-02-01
32 |  | <0.1 | 22 | 40 |  | 6 | 3 | 6.6 | 0.23 | <2
33 | 2024-03-01
34 |  | 0.8 | 7 | 30 |  | 9 | 2 | 7.1 | 0.44 | 2
35 | 2024-04-01
36 |  | 0.8 | 9 | <1 |  | 10 | 1 | 7.1 | 0.22 | <2
37
38
39
40
41

## Point 8 - BB Golf Course
| Location: Gundagai STP | [7 empty] | Licence Point: Utilisation area known as Bidgee Banks Golf Course (Point 8)
Licence Number: NO. 1721
Reporting Period: 2022-2023
| Month | Available Phosphorus | Cation Exchange Capacity | Chlorine | Electrical Conductivity | Exchangeable Calcium | Exchangeable Magnesium | Exchangeable Potassium | Exchangeable Sodium | Exchangeable Sodium | Nitrate | Organic Carbon | pH | Phosphorus Sorption Capacity
Units | date | mg/kg | cmol(+)/k | mg/kg | µs/cm | cmol(+)/k | cmol(+)/k | cmol(+)/k | cmol(+)/k | % | mg/kg | % | pH | mg/kg
2022-2023
1 | 2023-01-01
2 |  | 220 | 16.2 | 56 | 300 | 9.3 | 4.5 | 1.7 | 0.73 | 4.5 | 66 | 2.75 | 6.7 | 71
3 | 2023-02-01
4
5 | 2023-03-01
6
7 | 2023-04-01
8
2023-2024
9 | 2023-05-01
10 |  | 93 | 13 | 9.4 | 68 | 8.38 | 3.56 | 0.86 | 0.19 | 1.46 | 7 | 2.13 | 6.5 | 67.5
11 | 2023-06-01
12
13 | 2023-07-01
14
15 | 2023-08-01
16 |  | 124 | 14.5 | 15.5 | 7400 | 9.38 | 4.06 | 0.88 | 0.13 | 0.9 | 2 | 2.64 | 6.4 | 208.45
17 | 2023-09-01
18
19 | 2023-10-01
20
21 | 2023-11-01
22 |  | 112 | 13.1 | 84.9 | 166 | 8.41 | 3.31 | 1.18 | 0.08 | 0.61 | 2 | 3.99 | 6.1 | 218.03
23 | 2023-12-01
24
25 | 2024-01-01
26
27 | 2024-02-01
28 |  | 67 | 12.2 | 42.7 | 105 | 8.27 | 3.13 | 0.6 | 0.14 | 1.15 | 6 | 2.8 | 5.7 | 235.22
29 | 2024-03-01
30
31 | 2024-04-01
32

## Point 9 - BB Golf Course
| Location: Gundagai STP | [7 empty] | Licence Point: Utilisation area known as Bidgee Banks Golf Course (Point 9)
Licence Number: NO. 1721
Reporting Period: 2022-2023
| Month | Available Phosphorus | Cation Exchange Capacity | Chlorine | Electrical Conductivity | Exchangeable Calcium | Exchangeable Magnesium | Exchangeable Potassium | Exchangeable Sodium | Exchangeable Sodium | Nitrate | Organic Carbon | pH | Phosphorus Sorption Capacity
Units | date | mg/kg | cmol(+)/k | mg/kg | µs/cm | cmol(+)/k | cmol(+)/k | cmol(+)/k | cmol(+)/k | % | mg/kg | % | pH | mg/kg
2022-2023
1 | 2023-01-01
2 |  | 220 | 14.4 | 37 | 270 | 8.3 | 4.3 | 1.7 | 0.14 | 0.98 | 87 | 2.9 | 5.9 | 130
3 | 2023-02-01
4
5 | 2023-03-01
6
7 | 2023-04-01
8
2023-2024
9 | 2023-05-01
10 |  | 43 | 12 | 3.5 | 49 | 8.02 | 2.66 | 1.26 | 0.08 | 0.66 | 4 | 1.76 | 6.1 | 47
11 | 2023-06-01
12
13 | 2023-07-01
14
15 | 2023-08-01
16 |  | 46 | 15.2 | 11.8 | 190 | 11.88 | 2.39 | 0.76 | 0.06 | 0.39 | 2 | 1.91 | 6.6 | 240.53
17 | 2023-09-01
18
19 | 2023-10-01
20
21 | 2023-11-01
22 |  | 190 | 14 | 125.9 | 190 | 8.34 | 3.37 | 2.09 | 0.09 | 0.64 | 4 | 3.63 | 6 | 284.22
23 | 2023-12-01
24
25 | 2024-01-01
26
27 | 2024-02-01
28 |  | 127 | 10.4 | 20.2 | 118 | 6.51 | 2.43 | 1.26 | 0.06 | 0.58 | 23 | 3.52 | 5.3 | 164.24
29 | 2024-03-01
30
31 | 2024-04-01
32

## Point 10- BB Golf Course
| Location: Gundagai STP | [8 empty] | Licence Point: Utilisation area known as Bidgee Banks Golf Course (Point 10)
Licence Number: NO. 1721
Reporting Period: 2022-2023
| Month | Available Phosphorus | Cation Exchange Capacity | Chlorine |  | Electrical Conductivity | Exchangeable Calcium | Exchangeable Magnesium | Exchangeable Potassium | Exchangeable Sodium | Exchangeable Sodium | Nitrate | Organic Carbon | pH | Phosphorus Sorption Capacity
Units | date | mg/kg | cmol(+)/k | mg/kg |  | µs/cm | cmol(+)/k | cmol(+)/k | cmol(+)/k | cmol(+)/k | % | mg/kg | % | pH | mg/kg
2022-2023
1 | 2023-01-01
2 |  | 24 | 11.7 | 26 |  | 120 | 8 | 2.6 | 1 | 0.076 | 0.65 | 16 | 2.2 | 6.3 | 44
3 | 2023-02-01
4
5 | 2023-03-01
6
7 | 2023-04-01
8
2023-2024
9 | 2023-05-01
10 |  | 157 | 16.9 | 6.7 | 49 | 92 | 10.59 | 4.96 | 1.06 | 0.29 | 1.72 | 11 | 2.65 | 6.7 | 89.3
11 | 2023-06-01
12
13 | 2023-07-01
14
15 | 2023-08-01
16 |  | 118 | 15.8 | 21.5 |  | 7700 | 10.18 | 4.77 | 0.63 | 0.16 | 0.74 | 2 | 2.32 | 6.5 | 232.08
17 | 2023-09-01
18
19 | 2023-10-01
20
21 | 2023-11-01
22 |  | 205 | 19.3 | 96 |  | 224 | 11.75 | 5.44 | 1.54 | 0.44 | 2.28 | 8 | 4.5 | 6.4 | 264.61
23 | 2023-12-01
24
25 | 2024-01-01
26
27 | 2024-02-01
28 |  | 216 | 14.5 | 63.9 |  | 159 | 8.95 | 4.14 | 0.93 | 0.37 | 2.55 | 11 | 3.64 | 6.1 | 224.76
29 | 2024-03-01
30
31 | 2024-04-01
32

## Point 11 Gund Anzac Park
| Location: Gundagai STP | [7 empty] | Licence Point: Utilisation area known as Anzac Park (Point 11)
Licence Number: NO. 1721
Reporting Period: 2022-2023
| Month | Available Phosphorus | Cation Exchange Capacity | Chlorine | Electrical Conductivity | Exchangeable Calcium | Exchangeable Magnesium | Exchangeable Potassium | Exchangeable Sodium | Exchangeable Sodium | Nitrate | Organic Carbon | pH | Phosphorus Sorption Capacity
Units | date | mg/kg | cmol(+)/k | mg/kg | µs/cm | cmol(+)/k | cmol(+)/k | cmol(+)/k | cmol(+)/k | % | mg/kg | % | pH | mg/kg
2022-2023
1 | 2023-01-01
2 |  | 180 | 8.04 | 23 | 24 | 5.1 | 2.1 | 0.81 | 0.089 | 1.1 | 95 | 3.22 | 5.5 | 51
3 | 2023-02-01
4
5 | 2023-03-01
6
7 | 2023-04-01
8
2023-2024
9 | 2023-05-01
10 |  | 314 | 8.4 | 9.3 | 74 | 4.39 | 3.01 | 0.91 | 0.14 | 1.67 | 3 | 1.93 | 6.2 | 76.8
11 | 2023-06-01
12
13 | 2023-07-01
14
15 | 2023-08-01
16 |  | 258 | 10.3 | 61.1 | 14500 | 5.32 | 3.55 | 1.25 | 0.12 | 1.17 | 2 | 2.51 | 6.6 | 160.25
17 | 2023-09-01
18
19 | 2023-10-01
20
21 | 2023-11-01
22 |  | 297 | 10.3 | 72.3 | 176 | 5.07 | 3.64 | 1.45 | 0.09 | 0.87 | 3 | 3.68 | 6.3 | 75.29
23 | 2023-12-01
24
25 | 2024-01-01
26
27 | 2024-02-01
28 |  | 210 | 9.6 | 70.5 | 149 | 4.97 | 3.2 | 1.23 | 0.06 | 0.63 | 2 | 3.31 | 6.7 | 176.49
29 | 2024-03-01
30
31 | 2024-04-01
32

## Point 12 Stan Crowe Oval
| Location: Gundagai STP | [7 empty] | Licence Point: Utilisation area known as Stan Crowe (Point 12)
Licence Number: NO. 1721
Reporting Period: 2022-2023
| Month | Available Phosphorus | Cation Exchange Capacity | Chlorine | Electrical Conductivity | Exchangeable Calcium | Exchangeable Magnesium | Exchangeable Potassium | Exchangeable Sodium | Exchangeable Sodium | Nitrate | Organic Carbon | pH | Phosphorus Sorption Capacity
Units | date | mg/kg | cmol(+)/k | mg/kg | µs/cm | cmol(+)/k | cmol(+)/k | cmol(+)/k | cmol(+)/k | % | mg/kg | % | pH | mg/kg
2022-2023
1 | 2023-01-01
2 |  | 150 | 11 | 22 | 250 | 7 | 3.1 | 0.74 | 0.14 | 1.3 | 85 | 3.19 | 5.7 | 78
3 | 2023-02-01
4
5 | 2023-03-01
6
7 | 2023-04-01
8
2023-2024
9 | 2023-05-01
10 |  | 137 | 9.1 | 8.7 | 71 | 5.53 | 2.55 | 0.89 | 0.09 | 0.99 | 8 | 2.71 | 6 | 78
11 | 2023-06-01
12
13 | 2023-07-01
14
15 | 2023-08-01
16 |  | 138 | 11.1 | 34 | 10000 | 6.93 | 2.92 | 1.1 | 0.09 | 0.81 | 5 | 2.64 | 6.1 | 273.98
17 | 2023-09-01
18
19 | 2023-10-01
20
21 | 2023-11-01
22 |  | 140 | 12.5 | 54.8 | 0.145 | 7.81 | 3.41 | 1.13 | 0.1 | 0.8 | 6 | 3.6 | 6.1 | 207.25
23 | 2023-12-01
24
25 | 2024-01-01
26
27 | 2024-02-01
28 |  | 155 | 10.1 | 46.5 | 126 | 6.31 | 2.64 | 0.94 | 0.09 | 0.89 | 3 | 3.5 | 5.9 | 240.13
29 | 2024-03-01
30
31 | 2024-04-01
32

## Point 13 Owen Vincent Oval
| Location: Gundagai STP | [7 empty] | Licence Point: Utilisation area known as Owen Vincent Oval (Point 13)
Licence Number: NO. 1721
Reporting Period: 2022-2023
| Month | Available Phosphorus | Cation Exchange Capacity | Chlorine | Electrical Conductivity | Exchangeable Calcium | Exchangeable Magnesium | Exchangeable Potassium | Exchangeable Sodium | Exchangeable Sodium | Nitrate | Organic Carbon | pH | Phosphorus Sorption Capacity
Units | date | mg/kg | cmol(+)/k | mg/kg | µs/cm | cmol(+)/k | cmol(+)/k | cmol(+)/k | cmol(+)/k | % | mg/kg | % | pH | mg/kg
2022-2023
1 | 2023-01-01
2 |  | 97 | 13 | 14 | 100 | 8.5 | 3.6 | 0.82 | 0.12 | 0.91 | 7.2 | 3.26 | 6.2 | 63
3 | 2023-02-01
4
5 | 2023-03-01
6
7 | 2023-04-01
8
2023-2024
9 | 2023-05-01
10 |  | 108 | 12.7 | 17 | 76 | 8.04 | 3.66 | 0.93 | 0.08 | 0.63 | 3 | 2.89 | 0.61 | 75.4
11 | 2023-06-01
12
13 | 2023-07-01
14
15 | 2023-08-01
16 |  | 118 | 12.2 | 28.1 | 9200 | 7.74 | 3.32 | 0.95 | 0.09 | 0.74 | 3 | 2.57 | 6.4 | 247.39
17 | 2023-09-01
18
19 | 2023-10-01
20
21 | 2023-11-01
22 |  | 134 | 13 | 78.9 | 166 | 8.08 | 3.73 | 1.02 | 0.1 | 0.77 | 2 | 3.05 | 6.1 | 178.41
23 | 2023-12-01
24
25 | 2024-01-01
26
27 | 2024-02-01
28 |  | 117 | 13.8 | 43.8 | 0.144 | 9.46 | 3.4 | 0.75 | 0.13 | 0.94 | 3 | 2.86 | 6.9 | 230.75
29 | 2024-03-01
30
31 | 2024-04-01
32

## Point 14 Groundwater Bore
| Location: Gundagai STP |  |  | Licence Point: Groundwater monitoring bore (Point 14)
Licence Number: NO. 1721
Reporting Period: 2022-2023
| Month | Electrical Conductivity | Nitrogen (Nitrate) |  | pH | Phosphorus (total) | Standing Water Level
Units | date | µs/cm | mg/L |  | pH | mg/L | m AHD
2022-2023
1
2 | 2023-04-01
3 |  | Dry | Dry |  | Dry | Dry | Dry
2023-2024
4
5 | 2024-04-01
6 |  | Dy | Dry |  | Dry | Dry | Dry